# 11/5 Meeting

Date: 		11/5/25

Time: 		11:00am-12:00pm CDT

Attendees: 	Juliette Reeder, Jack Hicks, Forrest Tuschhoff, Dr. Chuck Bunting, Dr. Pavithrakrishnan Radhakrishnan

Predicted LPDA (Log-Periodic Dipole Antenna) Behavior:

Lumiloop modes:

- Mode 0 for lower frequencies (see manual)

- Mode that encompasses range of frequencies being measured

- 3 GHz -> mode 2 or 3 (see manual)

- 3/6 axes activated depending on mode

- See lumiloop recommendations for mode choice

- Stick with 0, 1, 2 depending on application

Specify what frequency is being used in Lumiloop

- Make sure lumiloop setting and transmit frequency match

Antenna assembly status:

Boom complete

All elements assembled

Issues encountered:

- Power supply to signal generator

  - Spec out lithium ion battery (​HorizontalHFPowerBudget​)

  - Gas powered generator

  - Long extension cord

- Extremely rocky soil west of REFTAS

  - Build elsewhere

  - Cinderblocks/sandbags (not enough tension)

  - Hammer drill with masonry drill bit

- Wire (non-insulated)

  - Invest in insulated stranded 18 gauge wire

  - Cut new lengths and attach, time permitting

  - Suggest for future renditions

- Guy wires for support beams

  - ⅓ up height of support

  - Shorten rope to ~6ft

Future measurements:

- Small LPDA proportionally close to ground

- Large LPDA